## Slide 2
PRINCIPLE OF OPERATION
The Met One Instruments model ES-642 is an active flow nephelometer which measures,
by means of interchangeable sharp cut cyclones, PM10 & PM2,5 or TSP aerosol concentration levels using the principle of forward laser light scatter. Furthermore, with a heated inlet, the ES-642 is able to compensate for elevated levels of humidity. This function is user-selectable however the norm is to activate the compensation at the 40% level.
Notes: Principle of Operation

## Slide 3
FACTORY SETTINGS

## Slide 4
TSP INLET
PM 10 SHARP CUT CYCLONE
(PM2.5)
ACTIVE HEATED INLET
PUMP FILTER
PURGE FILTER
ACTIVE SAMPLING PUMP
KEY FEATURES

## Slide 5
The ES 642 operates on 15 – 40 Volt D/C
Power Requirements
CONNECTIONS
Output
Notes: Outputs

## Slide 6
INSTALLATION OPTIONS

## Slide 7
METONE INSTRUMENTS – THE E-SAMPLER

## Slide 8
THANK YOU